| Form A1-3: Application for connection of Power Generating Module(s) with Total Aggregate Capacity <50 kW 3-phase or 17 kW single phase where the output is shared with two or more Customers For Power Generating Modules with an aggregate capacity < 50 kW 3-phase or 17 kW single-phase supplying multiple Customers this simplified application form can be used. For Power Generating Modules with an aggregate capacity > 50 kW 3-phase, the connection application should be made using the Standard Application Form (generally available from the DNO website). If the Power Generating Module is Fully Type Tested and registered in the ENA Type Test Register, this application form should include the Manufacturer’s reference number (the Product ID). A full list of the compliant device system reference numbers is available through the Type Test Register at ENA Type Test Register (https://connect-direct.energynetworks.org/). If part of the Power Generating Module is Type Tested and registered with the ENA Type Test Register, this application form should include the Manufacturer’s reference number (the Product ID) and Form A2-1 or A2-2 or A2-3 (as appropriate) should be submitted to the DNO with this form. If the Power Generating Module is neither Fully Type Tested or Type Tested then and Form A2-1 or A2-2 or A2-3 should be submitted to the DNO with this form. Alternatively the Standard Application Form should be submitted instead of this form. For the purposes of this form the Generator is the party owning the Power Generating Module(s). The Generator may or may not have a direct connection to the DNO’s Distribution System at the installation address. |  |
| --- | --- |
| To ABC electricity distribution DNO 99 West St, Imaginary Town, ZZ99 9AA abced@wxyz.com |  |
| Generator details: |  |
| Generator (name) | Enter Housing Association or System Owner details |
| Address | Their address |
| Post Code |  |
| Contact person (if different from Generator) | Best contact at that org for this project |
| Telephone number | Their phone number |
| E-mail address | Their email |
| Installer details: |  |
| Installer | Enter Installer details |
| Accreditation / Qualification |  |
| Address |  |
| Post Code |  |
| Contact person |  |
| Telephone Number |  |

| E-mail address |  |  |
| --- | --- | --- |
| Installation details: |  |  |
| Address |  | Enter site address |
| Post Code |  |  |
| MPAN of Generator (if applicable) |  | Landlord MPAN if there is one |
| Sharing equipment details |  |  |
| Please give a description and relevant details of the proposed sharing equipment. Please state if export from the Customers’ Installations is expected, and if so, how this is to be distributed. This system uses <enter number> of Allume Energy SolShare(s) to connect the above power generating modules to the network via the following enter number of MPANs: Flat number – kW allocation (NOTE: this is the kW AC allocation not kWp) Flat number – kW allocation (NOTE: this is the kW AC allocation not kWp) Flat number – kW allocation (NOTE: this is the kW AC allocation not kWp) … … Note: the sum of the flats’ kW allocation should equal the total ‘generating unit capacity (kW)’ stated in this document. Formular to work out kW AC: Flat kW AC allocation = Flat kWp × (Total inverter capacity ÷ Total system kWp) Delete this note prior to submitting the document. |  |  |
| Customer | MPAN | Address |
| 1 | MPAN1 | Flat X, address |
| 2 | MPAN2 | Flat Y, address |
| 3 | MPAN3 | Flat Z, address |
| 4 | … | … |
| 5 | … | … |
| 6 | Continued for number of flats, e.g. 30 rows if 30 flats selected | … |
| Please extend on a separate sheet for additional Customers supplied by the Generator. |  |  |

| Details of existing Generating Units – where applicable: |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Approximate | Energy source |  | Manufacturer’ | Generating Unit Registered Capacity |  |  |  |  |
| Manufacturer | Date of Installation | and energy conversion technology (enter codes from tables 1 and 2 see Form A1-2) |  | s Ref No. where available | (kW) |  |  |  |  |
|  |  |  |  |  | 3- phase units | Single Phase Units |  |  | Power Factor |
|  |  |  |  |  |  | PH1 | PH2 | PH3 |  |
|  |  | Src | Tech |  |  |  |  |  |  |
| Usually nothing unless there is already something on site |  |  |  |  |  |  |  |  |  |
| Details of proposed additional Generating Unit(s): |  |  |  |  |  |  |  |  |  |
| Manufacturer | Approximate Date of Installation | Energy source and energy conversion technology (enter codes from tables 1 and 2 see Form A1-2) |  | Manufacturer’ s Ref No. where available | Generating Unit Registered Capacity (kW) |  |  |  |  |
|  |  |  |  |  | 3- phase units | Single Phase Units |  |  | Power Factor |
|  |  |  |  |  |  | PH1 | PH2 | PH3 |  |
|  |  | Src | Tech |  |  |  |  |  |  |
| Generation units that will be installed |  |  |  |  |  |  |  |  |  |
| Balance of multiple single phase Generating Units – where applicable |  |  |  |  |  |  |  |  |  |
| I confirm that design of the Generator’s Installation has been carried out to limit output power imbalance to below 32 A/phase, as required by EREC G99. |  |  |  |  |  |  |  |  |  |
| Signed : |  |  |  |  | Date : |  |  |  |  |
| Use continuation sheet where required. Record Generating Unit Registered Capacity kW at 230 AC, to one decimal place, under PH1 for single phase supplies and under the relevant phase for two and three phase supplies. Detail on a separate sheet if there are any proposals to limit export to a lower figure than the aggregate Registered Capacity of all the Generating Units in the Power Generating Facility. |  |  |  |  |  |  |  |  |  |